IVH Health & Safety Policy – Checklist January 2026  (X denotes YES)

|  |  |  | Yes |  | Comment/ further action needed | N/A |
| --- | --- | --- | --- | --- | --- | --- |
| Car park |  | Is the car park surface maintained to minimise slip and trip risks? | x |  |  |  |
|  |  | Are vehicle and pedestrian routes/flows and car park and site entrance/exits clearly marked? | x |  |  |  |
|  |  | Is the car park well lit? | x |  |  |  |
|  |  | Can emergency vehicles gain access? | x |  |  |  |
| Movement around the building |  | Are paths, steps and any ramps to and from the hall properly maintained to minimise slip and trip risks? | x |  |  |  |
|  |  | Is lighting suitable and sufficient to allow safe access and exit (including lighting of emergency exits)? | x |  |  |  |
|  |  | Have you provided matting to minimise rainwater etc being carried into the building? | x |  | Conscious decision to retain front door mat (in good condition) |  |
|  |  | Do rooms and corridors have sufficient lighting? | x |  |  |  |
|  |  | Are corridors clear of clutter? | x |  |  |  |
|  |  | Are there any trailing electrical leads/cables? | x |  |  |  |
|  |  | Are permanent fixtures in good condition, eg seats, shelving, cupboards, notice boards, signage etc? | x |  |  |  |
|  |  | Is internal flooring in good condition, eg are carpets fixed? | x |  | See ‘mat’ above |  |
|  |  | Where any doors contain glass, is this made from a safety material? | x |  |  |  |
|  |  | Are all stairs fitted with handrails? | x |  |  |  |
| Electrical equipment and services |  | If you have any fixed electrical installations: ■ Are they correctly installed, modified or repaired, then inspected and tested by an electrician or other suitably qualified person before being put into use? ■ Are they inspected and tested at suitable (occasional) intervals by an electrician or other suitably qualified person? | X x |  |  |  |
|  |  | If you own or hire any portable or fixed electrical equipment (eg a cooker or vacuum cleaner etc): ■ Has it been visually checked and, where necessary, tested at suitable (occasional) intervals to ensure that it is safe to use? ■ Has any damaged electrical equipment been taken out of service /replaced? | x |  | PAT tests conducted annually | x |
| Gas/LPG services/ equipment Asbestos |  | Does the hall contain any asbestos? |  |  |  | x x |
|  |  | If there is asbestos, and it is in good condition, has a record been made of where it is? Are there arrangements to provide this information to anyone who carries out maintenance work on the building? |  |  |  | x |
|  |  | Is there a system in place (eg fixed warning signs) to ensure the asbestos is not disturbed, and are regular checks made to ensure it remains undisturbed and in good condition? |  |  |  | x |
|  |  | If damaged asbestos has been identified, have arrangements been made to ensure it is either repaired, encapsulated or removed? (The majority of work on asbestos must be carried out by a licensed contractor unless the asbestos fibres in the material are so well-bound-in that the work is lower risk and can be done by a contractor who is not licensed by HSE.) |  |  |  | x |
|  |  | Have records of any asbestos been kept so that asbestos material likely to release high fibre levels can be removed first by licensed contractors if the hall is refurbished/demolished? |  |  |  | x |
| Fire | Has a fire risk assessment been completed and are adequate fire safety measures in place? |  |  | x | See Fire Risk Assessment |  |
|  | Has an evacuation plan been implemented |  |  | x | See Fire Risk Assessment |  |
|  | Is the fire alarm tested regularly? |  |  | x | See Fire Risk Assessment |  |
|  | Are fire drills carried out at least once a year? |  |  |  | Responsibility of regular hall users | x |
|  | Are regular checks made to ensure escape routes and fire exit doors are: ■ unobstructed; and ■ adequate and effective for the number of people using the hall (including those who are disabled or vulnerable)? |  |  | X x | See Fire Risk Assessment |  |
|  | Are combustible substances or waste stored safely? |  |  | x | See Fire Risk Assessment |  |
|  | Is fire-fighting equipment in place and tested regularly in line with the manufacturer’s guidance? Are staff (and others) trained in how to use it? |  |  | x | See Fire Risk Assessment |  |
|  |  |  |  |  | See Fire Risk Assessment | x |
| Legionnaires’ disease | Do you or users do anything that involves spraying/sprayed water (eg using showers in changing rooms, or a humidifier) that could contain legionella bacteria? (These bacteria can cause legionnaires’ disease.) |  |  |  |  | x |
|  | If you cannot avoid spraying water, do you have an up-to-date plan for dealing with this risk? |  |  |  |  | x |
|  | Is it clear who is responsible for doing things in the plan and do they keep a record of any checks (eg temperature checks)? |  |  |  |  | x |
| Responsibility | Do users have all the information about the hall they need to operate safely? |  |  | x | H&S /Accident/Fire folder in kitchen and on notice boards |  |
| Defibrillator | Is the machine installed, functional and tested at appropriate intervals |  |  | x |  |  |

# Additional Issues / Further Action Needed

Ongoing tidying/clearance of store areas required from time to time

| Chris Sheldon, Appointed H&S Manager | January 2026 |
| --- | --- |